## Index
PVMLCeiling
PVMLCeilingL
PVMLConePendant
PVMLConePendantL
PVMLPendant
PVMLPendantL
PVMLStanchion
PVMLStanchionAng
PVMLStanchionL
PVMLTrunnion
PVMLTrunnionL
PVMLWall
PVMLWallL
CatalogRoot
ClassNodeType
R-Hierarchy
CustomInterfaces
GUIDs

## PVMLCeiling
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLCeiling.jpg | PVML Ceiling | PVML Ceiling | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia
Start
a | PVML_Ceiling | PVML_Ceiling | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeiling | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeiling | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.83 in | 11.03 in | 10.77 in | 10.77 in
End

## PVMLCeilingL
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLCeilingL.jpg | PVML Ceiling 13L to 25L | PVML Ceiling 13L to 25L | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia
Start
a | PVM13L_Ceiling | PVM13L_Ceiling | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.83 in | 9.77 in | 10.8 in | 15.01 in
a | PVM17L_Ceiling | PVM17L_Ceiling | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.83 in | 9.77 in | 10.8 in | 15.01 in
a | PVM21L_Ceiling | PVM21L_Ceiling | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.83 in | 12.86 in | 10.8 in | 15.01 in
a | PVM25L_Ceiling | PVM25L_Ceiling | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLCeilingL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.83 in | 12.86 in | 10.8 in | 15.01 in
End

## PVMLPendant
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLPendant.jpg | PVML Pendant | PVML Pendant | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia
Start
a | PVML_Pendant | PVML_Pendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendant | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendant | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.0 in | 11.62 in | 11 in | 10.18 in | 10.18 in
End

## PVMLPendantL
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLPendantL.jpg | PVML Pendant 13L to 25L | PVML Pendant 13L to 25L | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia
Start
a | PVM13L_Pendant | PVM13L_Pendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.62 in | 9.74 in | 10.18 in | 15.01 in
a | PVM17L_Pendant | PVM17L_Pendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.62 in | 9.74 in | 10.18 in | 15.01 in
a | PVM21L_Pendant | PVM21L_Pendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.62 in | 12.79 in | 10.18 in | 15.01 in
a | PVM25L_Pendant | PVM25L_Pendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLPendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 2.03 in | 11.62 in | 12.79 in | 10.18 in | 15.01 in
End

## PVMLConePendant
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLConePendant.jpg | PVML Cone Pendant | PVML Cone Pendant | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia
Start
a | PVML_ConePendant | PVML_ConePendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendant | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendant | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 6.22 in | 11.62 in | 15.22 in | 10.18 in | 10.18 in
End

## PVMLConePendantL
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLConePendantL.jpg | PVML Cone Pendant 13L to 25L | PVML Cone Pendant 13L to 25L | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia
Start
a | PVM13L_ConePendant | PVM13L_ConePendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 6.22 in | 11.62 in | 13.96 in | 10.18 in | 15.01 in
a | PVM17L_ConePendant | PVM17L_ConePendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 6.22 in | 11.62 in | 13.96 in | 10.18 in | 15.01 in
a | PVM21L_ConePendant | PVM21L_ConePendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 6.22 in | 11.62 in | 17.01 in | 10.18 in | 15.01 in
a | PVM25L_ConePendant | PVM25L_ConePendant | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLConePendantL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 6.22 in | 11.62 in | 17.01 in | 10.18 in | 15.01 in
End

## PVMLWall
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type | Nozzle(2):Id | Nozzle(2):Type | Nozzle(3):Id | Nozzle(3):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLWall.jpg | PVML Wall | PVML Wall | CablePort1 | Electrical | CablePort2 | Electrical | CablePort3 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | Nozzle(2):Terminal | Nozzle(2):Receptacle | Nozzle(2):PortType | Nozzle(2):SubType | Nozzle(2):Diameter | Nozzle(2):Area | Nozzle(2):Tightness | Nozzle(3):Terminal | Nozzle(3):Receptacle | Nozzle(3):PortType | Nozzle(3):SubType | Nozzle(3):Diameter | Nozzle(3):Area | Nozzle(3):Tightness | IJUAEatonLFArmDep::DimArmDep | IJUAEatonLFArmWid::DimArmWid | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia | IJUAEatonLFWall::DimHToWall | IJUAEatonLFLen::DimLFLen
Start
a | PVML_Wall | PVML_Wall | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWall | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWall | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 4.63 in | 4.67 in | 2.80 in | 11.62 in | 11.31 in | 10.18 in | 10.18 in | 8.88 in | 13.96 in
End

## PVMLWallL
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type | Nozzle(2):Id | Nozzle(2):Type | Nozzle(3):Id | Nozzle(3):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLWallL.jpg | PVML Wall 13L to 25L | PVML Wall 13L to 25L | CablePort1 | Electrical | CablePort2 | Electrical | CablePort3 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | Nozzle(2):Terminal | Nozzle(2):Receptacle | Nozzle(2):PortType | Nozzle(2):SubType | Nozzle(2):Diameter | Nozzle(2):Area | Nozzle(2):Tightness | Nozzle(3):Terminal | Nozzle(3):Receptacle | Nozzle(3):PortType | Nozzle(3):SubType | Nozzle(3):Diameter | Nozzle(3):Area | Nozzle(3):Tightness | IJUAEatonLFArmDep::DimArmDep | IJUAEatonLFArmWid::DimArmWid | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia | IJUAEatonLFWall::DimHToWall | IJUAEatonLFLen::DimLFLen
Start
a | PVM13L_Wall | PVM13L_Wall | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 4.63 in | 4.67 in | 2.80 in | 11.62 in | 10.05 in | 10.18 in | 15.01 in | 8.88 in | 16.39 in
a | PVM17L_Wall | PVM17L_Wall | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 4.63 in | 4.67 in | 2.80 in | 11.62 in | 10.05 in | 10.18 in | 15.01 in | 8.88 in | 16.39 in
a | PVM21L_Wall | PVM21L_Wall | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 4.63 in | 4.67 in | 2.80 in | 11.62 in | 13.10 in | 10.18 in | 15.01 in | 8.88 in | 16.39 in
a | PVM25L_Wall | PVM25L_Wall | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLWallL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 4.63 in | 4.67 in | 2.80 in | 11.62 in | 13.10 in | 10.18 in | 15.01 in | 8.88 in | 16.39 in
End

## PVMLStanchion
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLStanchion.jpg | PVML Stanchion | PVML Stanchion | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLFArmWid::DimArmWid | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFStanchion::DimHToPole | IJUAEatonLFLen::DimLFLen
Start
a | PVML_Stanchion | PVML_Stanchion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchion | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchion | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 3.49 in | 2.10 in | 11.62 in | 11.10 in | 10.18 in | 9.75 in | 16.03 in
End

## PVMLStanchionL
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLStanchionL.jpg | PVML Stanchion 13L to 25L | PVML Stanchion 13L to 25L | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLFArmWid::DimArmWid | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia | IJUAEatonLFLen::DimLFLen | IJUAEatonLFStanchion::DimHToPole
Start
a | PVM13L_Stanchion | PVM13L_Stanchion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 3.49 in | 2.04 in | 11.62 in | 9.84 in | 10.18 in | 15.01 in | 18.46 in | 9.75 in
a | PVM17L_Stanchion | PVM17L_Stanchion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 3.49 in | 2.04 in | 11.62 in | 9.84 in | 10.18 in | 15.01 in | 18.46 in | 9.75 in
a | PVM21L_Stanchion | PVM21L_Stanchion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 3.49 in | 2.04 in | 11.62 in | 12.89 in | 10.18 in | 15.01 in | 18.46 in | 9.75 in
a | PVM25L_Stanchion | PVM25L_Stanchion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanchionL | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 3.49 in | 2.04 in | 11.62 in | 12.89 in | 10.18 in | 15.01 in | 18.46 in | 9.75 in
End

## PVMLStanchionAng
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | Nozzle(1):Id | Nozzle(1):Type
A | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLStanchionAng.jpg | PVML Stanchion Angled | PVML Stanchion Angled | CablePort1 | Electrical
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | Nozzle(1):Terminal | Nozzle(1):Receptacle | Nozzle(1):PortType | Nozzle(1):SubType | Nozzle(1):Diameter | Nozzle(1):Area | Nozzle(1):Tightness | IJUAEatonLFArmWid::DimArmWid | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFLen::DimLFLen | IJUAEatonLFHousDia::DimHousDia
Start
A | PVML_Stanchion 25 deg | PVML_Stanchion 25 deg | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanAngled | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLStanAngled | [9 empty] | MS340Terminal | MS3402D14S-2S | Receptacle | Dummy | 20 mm | 0.00031415 | 3 | 3.49 in | 1.8 in | 11.62 in | 10.78 in | 10.18 in | 15.07 in | 10.18 in
End

## PVMLTrunnion
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | OA:IJUAEatonLEDRotation::DimRotAngle
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLTrunnion.jpg | PVML Trunnion | PVML Trunnion
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | IJUAEatonLEDRotation::DimRotAngle | IJUAEatonBracketLen::DimBrL | IJUAEatonBracketThk::DimBrTh | IJUAEatonBracketWid::DimBrW | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia | IJUAEatonBracketRotAxis::DimRotAxis | IJUAEatonBracketTBDep::DimTBrDep
Start
a | PVML_Trunnion | PVML_Trunnion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnion | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnion | [9 empty] | 0 deg | 14 in | 0.25 in | 1.5 in | 2.03 in | 11.83 in | 11.03 in | 10.77 in | 10.77 in | 2 in | 5 in
End

## PVMLTrunnionL
! Back to Index
Definition | PartClassType | SymbolDefinition | SymbolIcon | UserClassName | OccClassName | OA:IJUAEatonLEDRotation::DimRotAngle
a | EquipmentAssemblyClass |  | SymbolIcons\Eaton\PVMLTrunnionL.jpg | PVML Trunnion 13L to 25L | PVML Trunnion 13L to 25L
Head | Name | PartDescription | MirrorBehaviorOption | ReplacementPartNumber | ProcessEqTypes1 | SymbolDefinition | Definition | DryWeight | WaterWeight | DryCogX | DryCogY | DryCogZ | WaterCogX | WaterCogY | WaterCogZ | FormDefinition | IJUAEatonBracketLen::DimBrL | IJUAEatonBracketThk::DimBrTh | IJUAEatonBracketWid::DimBrW | IJUAEatonLightFixt::DimHatDep | IJUAEatonLightFixt::DimHatWid | IJUAEatonLightFixt::DimHeadDep | IJUAEatonLFHeadDia::DimHeadDia | IJUAEatonLFHousDia::DimHousDia | IJUAEatonBracketRotAxis::DimRotAxis | IJUAEatonBracketTBDep::DimTBrDep | IJUAEatonLEDRotation::DimRotAngle
Start
a | PVM13L_Trunnion | PVM13L_Trunnion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | [9 empty] | 14 in | 0.25 in | 1.5 in | 2.03 in | 11.83 in | 9.77 in | 10.8 in | 15.01 in | 1.5 in | 5 in | 0 deg
a | PVM17L_Trunnion | PVM17L_Trunnion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | [9 empty] | 14 in | 0.25 in | 1.5 in | 2.03 in | 11.83 in | 9.77 in | 10.8 in | 15.01 in | 1.5 in | 5 in | 0 deg
a | PVM21L_Trunnion | PVM21L_Trunnion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | [9 empty] | 14 in | 0.25 in | 1.5 in | 2.03 in | 11.83 in | 12.86 in | 10.8 in | 15.01 in | 1.5 in | 5 in | 0 deg
a | PVM25L_Trunnion | PVM25L_Trunnion | 15 |  | 2420 | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | Eaton_ElecSymbols,Eaton.SP3D.Content.EquipmentAssemblyClass.VMVLTrunnionL | [9 empty] | 14 in | 0.25 in | 1.5 in | 2.03 in | 11.83 in | 12.86 in | 10.8 in | 15.01 in | 1.5 in | 5 in | 0 deg
End

## CatalogRoot
! Back to Index
Head | Name
Start
! | Equipment
End

## ClassNodeType
! Back to Index
Head | ObjectName | Name
Start
! | Lighting Asm | Lighting
! | Electrical Equipment Asm | Electrical
a | Eaton_Root | Eaton
a | PVML_Root | Champ Pro PVML industrial LED light fixtures
End

## R-Hierarchy
! Back to Index
Head | RelationSource | RelationDestination
Start
! | CatalogRoot | RefDataEquipmentRoot
! | RefDataEquipmentRoot | Electrical Equipment Asm
! | Electrical Equipment Asm | Lighting Asm
a | RefDataEquipmentRoot | Eaton_Root
a | Eaton_Root | PVML_Root
a | PVML_Root | PVMLCeiling
a | PVML_Root | PVMLCeilingL
a | PVML_Root | PVMLConePendant
a | PVML_Root | PVMLConePendantL
a | PVML_Root | PVMLPendant
a | PVML_Root | PVMLPendantL
a | PVML_Root | PVMLStanchion
a | PVML_Root | PVMLStanchionAng
a | PVML_Root | PVMLStanchionL
a | PVML_Root | PVMLTrunnion
a | PVML_Root | PVMLTrunnionL
a | PVML_Root | PVMLWall
a | PVML_Root | PVMLWallL
End

## CustomInterfaces
! Back to Index
Head | InterfaceName | CategoryName | AttributeName | AttributeUserName | Type | UnitsType | PrimaryUnits | CodeList | codelisttablenamespace | OnPropertyPage | ReadOnly | SymbolParameter
Start
| IJUAEatonPanelB | Dimensions | DimA | A | Double | distance | in |  |  | 1 | 1 | A
| IJUAEatonPanelB | Dimensions | DimB | B | Double | distance | in |  |  | 1 | 1 | B
| IJUAEatonPanelB | Dimensions | DimC | C | Double | distance | in |  |  | 1 | 1 | C
| IJUAEatonPanelB | Dimensions | DimD | D | Double | distance | in |  |  | 1 | 1 | D
| IJUAEatonPanelB | Dimensions | DimE | E | Double | distance | in |  |  | 1 | 1 | E
| IJUAEatonPanelB | Dimensions | DimF | F | Double | distance | in |  |  | 1 | 1 | F
| IJUAEatonPanelB | Dimensions | DimG | G | Double | distance | in |  |  | 1 | 1 | G
| IJUAEatonPanelB | Dimensions | DimH | H | Double | distance | in |  |  | 1 | 1 | H
| IJUAEatonPanelB | Dimensions | DimI | I | Double | distance | in |  |  | 1 | 1 | I
| IJUAEatonAPDia | Dimensions | DimAPDia | Adjustable Pole Diameter | Double | distance | in |  |  | 1 | 1 | DimAPDia
| IJUAEatonAPLen | Dimensions | DimAPLen | Adjustable Pole Length | Double | distance | in |  |  | 1 | 0 | DimAPLen
| IJUAEatonBPDia | Dimensions | DimBPDia | Bottom Pole Diameter | Double | distance | in |  |  | 1 | 1 | DimBPDia
| IJUAEatonBPLen | Dimensions | DimBPLen | Bottom Pole Length | Double | distance | in |  |  | 1 | 0 | DimBPLen
| IJUAEatonLFStanchion | Dimensions | DimHToPole | Head to Pole Center | Double | distance | in |  |  | 1 | 1 | DimHToPole
| IJUAEatonLFWall | Dimensions | DimHToWall | Head to Wall Distance | Double | distance | in |  |  | 1 | 1 | DimHToWall
| IJUAEatonLightFixt | Dimensions | DimHatDep | Hat Depth | Double | distance | in |  |  | 1 | 1 | DimHatDep
| IJUAEatonLightFixt | Dimensions | DimHeadDep | Head Depth | Double | distance | in |  |  | 1 | 1 | DimHeadDep
| IJUAEatonLightFixt | Dimensions | DimHatWid | Hat Width | Double | distance | in |  |  | 1 | 1 | DimHatWid
| IJUAEatonLFHousDia | Dimensions | DimHousDia | Housing Diameter | Double | distance | in |  |  | 1 | 1 | DimHousDia
| IJUAEatonLFHeadDia | Dimensions | DimHeadDia | Head Diameter | Double | distance | in |  |  | 1 | 1 | DimHeadDia
| IJUAEatonLFLen | Dimensions | DimLFLen | Light Fixture Length | Double | distance | in |  |  | 1 | 1 | DimLFLen
| IJUAEatonLFArmDep | Dimensions | DimArmDep | Arm Depth | Double | distance | in |  |  | 1 | 1 | DimArmDep
| IJUAEatonLFArmWid | Dimensions | DimArmWid | Arm Width | Double | distance | in |  |  | 1 | 1 | DimArmWid
| IJUAEatonFloodlight | Dimensions | DimL | LED Length | Double | distance | in |  |  | 1 | 1 | DimL
| IJUAEatonFloodlight | Dimensions | DimThk | LED Thickness | Double | distance | in |  |  | 1 | 1 | DimThk
| IJUAEatonFloodlight | Dimensions | DimW | LED Width | Double | distance | in |  |  | 1 | 1 | DimW
| IJUAEatonLEDRotation | Dimensions | DimRotAngle | LED Rotation Angle | Double | Angle | deg |  |  | 1 | 0 | DimRotAngle
| IJUAEatonFloodLBracketL | Dimensions | DimLedBrack | LED Face to Bracket End | Double | distance | in |  |  | 1 | 1 | DimLedBrack
| IJUAEatonLEDDepth | Dimensions | DimLDep | LED Depth | Double | distance | in |  |  | 1 | 1 | DimLDep
| IJUAEatonBracketLen | Dimensions | DimBrL | Bracket Length | Double | distance | in |  |  | 1 | 1 | DimBrL
| IJUAEatonBracketThk | Dimensions | DimBrTh | Bracket Thickness | Double | distance | in |  |  | 1 | 1 | DimBrTh
| IJUAEatonBracketWid | Dimensions | DimBrW | Bracket Width | Double | distance | in |  |  | 1 | 1 | DimBrW
| IJUAEatonBracketRotAxis | Dimensions | DimRotAxis | Bracket Rotation Axis | Double | distance | in |  |  | 0 | 1 | DimRotAxis
| IJUAEatonBracketTBDep | Dimensions | DimTBrDep | Top Bracket Depth | Double | distance | in |  |  | 1 | 1 | DimTBrDep
| IJUAEatonBracketBoltDia | Dimensions | DimBoltDia | Bolt Diameter | Double | distance | in |  |  | 1 | 1 | DimBoltDia
| IJUAEatonBracket4Bolt | Dimensions | DimBoltDistH | Bolting Horizontal Distance | Double | distance | in |  |  | 1 | 1 | DimBoltDistH
| IJUAEatonBracket4Bolt | Dimensions | DimBoltDistV | Bolting Vertical Distance | Double | distance | in |  |  | 1 | 1 | DimBoltDistV
| IJUAEatonBracket4BoltV2 | Dimensions | DimBoltDistV2 | Bolting Vertical Distance 2 | Double | distance | in |  |  | 1 | 1 | DimBoltDistV2
| IJUAEatonBracket4BoltV3 | Dimensions | DimBoltDistV3 | Bolting Vertical Distance 3 | Double | distance | in |  |  | 1 | 1 | DimBoltDistV3
| IJUAEatonBracket2Bolt | Dimensions | DimBoltDist | Bolting Distance | Double | distance | in |  |  | 1 | 1 | DimBoltDist
| IJUAEatonClampHgt | Dimensions | DimClampH | Clamp Height | Double | distance | in |  |  | 1 | 1 | DimClampH
| IJUAEatonClampLen | Dimensions | DimClampL | Clamp Length | Double | distance | in |  |  | 1 | 1 | DimClampL
| IJUAEatonClampThk | Dimensions | DimClampThk | Clamp Thickness | Double | distance | in |  |  | 1 | 1 | DimClampThk
| IJUAEatonClampWid | Dimensions | DimClampW | Clamp Width | Double | distance | in |  |  | 1 | 1 | DimClampW
| IJUAEatonTopHat | Dimensions | DimTopHat | Top Hat | bit | 0 | 0 |  |  | 1 | 1 | DimTopHat
| IJUAEatonTopHat | Dimensions | DimTHatDep | Top Hat Depth | Double | distance | in |  |  | 1 | 1 | DimTHatDep
| IJUAEatonTopHat | Dimensions | DimTHatWid | Top Hat Width | Double | distance | in |  |  | 1 | 1 | DimTHatWid
| IJUAEatonTopHat | Dimensions | DimTHatAngle | Top Hat Angle | Double | Angle | deg |  |  | 1 | 1 | DimTHatAngle
| IJUAEatonClampOffset1 | Dimensions | DimClOff1 | Clamp Offset 1 | Double | distance | in |  |  | 1 | 0 | DimClOff1
| IJUAEatonClampOffset2 | Dimensions | DimClOff2 | Clamp Offset 2 | Double | distance | in |  |  | 1 | 0 | DimClOff2
| IJUAEatonPoleRotation | Dimensions | DimPoleRot | Pole Rotation Angle | Double | Angle | deg |  |  | 1 | 0 | DimPoleRot
| IJUAEatonTubeRail | Dimensions | DimTubeDia | Handrail Tube Diameter | Double | distance | in |  |  | 1 | 1 | DimTubeDia
| IJUAEatonUBoltDia | Dimensions | DimUBDia | U-Bolt Diameter | Double | distance | in |  |  | 1 | 1 | DimUBDia
| IJUAEatonABar | Dimensions | DimABar | Angle Bar Size | Double | distance | in |  |  | 1 | 1 | DimABar
| IJUAEatonBase | Dimensions | DimBaseL | Base Length | Double | distance | in |  |  | 1 | 1 | DimBaseL
| IJUAEatonBase | Dimensions | DimBaseT | Base Thickness | Double | distance | in |  |  | 1 | 1 | DimBaseT
| IJUAEatonBase | Dimensions | DimBaseW | Base Width | Double | distance | in |  |  | 1 | 1 | DimBaseW
| IJUAEatonPlate | Dimensions | DimPlateW | Plate Width | Double | distance | in |  |  | 1 | 1 | DimPlateW
| IJUAEatonPlate | Dimensions | DimPlateT | Plate Thickness | Double | distance | in |  |  | 1 | 1 | DimPlateT
| IJUAEatonPlate | Dimensions | DimPlateL | Plate Length | Double | distance | in |  |  | 1 | 1 | DimPlateL
| IJUAEatonPort | Dimensions | DimPortHOffset | Port Horizontal Offset | Double | distance | in |  |  | 1 | 1 | DimPortHOffset
| IJUAEatonSocket | Dimensions | DimSocketDia | Port Socket Diameter | Double | distance | in |  |  | 1 | 1 | DimSocketDia
| IJUAEatonTransformer | Dimensions | DimTfD | Transformer Depth | Double | distance | in |  |  | 1 | 1 | DimTfD
| IJUAEatonTransformer | Dimensions | DimTfH | Transformer Height | Double | distance | in |  |  | 1 | 1 | DimTfH
| IJUAEatonTransformer | Dimensions | DimTfW | Transformer Width | Double | distance | in |  |  | 1 | 1 | DimTfW
| IJUAEatonPanelUBoxHgt | Dimensions | DimH_U | Panel Upper Height | double | distance | in |  |  | 1 | 1 | DimH_U
| IJUAEatonPanelUBoxWid | Dimensions | DimW_U | Panel Upper Width | double | distance | in |  |  | 1 | 1 | DimW_U
| IJUAEatonPanelLBox | Dimensions | DimPnlH | Panel Low Height | double | distance | in |  |  | 1 | 0 | DimH
| IJUAEatonPanelLBox | Dimensions | DimPnlH2 | Panel Low Height2 | double | distance | in |  |  | 1 | 0 | DimH2
| IJUAEatonPanelLBox | Dimensions | DimPnlW | Panel Low Width | double | distance | in |  |  | 1 | 0 | DimW
| IJUAEatonPanelLBoxHgt3 | Dimensions | DimPnlH3 | Panel Low Height3 | double | distance | in |  |  | 1 | 0 | DimH3
| IJUAEatonPanelLBoxLen | Dimensions | DimPnlL | Panel Low Length | double | distance | in |  |  | 1 | 0 | DimL
| IJUAEatonPanelLBoxLen2 | Dimensions | DimPnlL2 | Panel Low Length2 | double | distance | in |  |  | 1 | 0 | DimL2
| IJUAEatonPanelLBoxWid2 | Dimensions | DimPnlW2 | Panel Low Width2 | double | distance | in |  |  | 1 | 0 | DimW2
| IJUAEatonPanelLtoUBox | Dimensions | DimH_LU | Panel Low to Upper Height | double | distance | in |  |  | 1 | 0 | DimH_LU
| IJUAEatonPanelLtoUBox | Dimensions | DimH_LU2 | Panel Low to Upper Height2 | double | distance | in |  |  | 1 | 0 | DimH_LU2
| IJUAEatonPanelLtoUBoxL | Dimensions | DimL_LU | Panel Low to Upper Length | double | distance | in |  |  | 1 | 0 | DimL_LU
| IJUAEatonPanelPlateD | Dimensions | DimPnlPltDep | Panel Plate Depth | double | distance | in |  |  | 1 | 0 | DimPlateDep
| IJUAEatonPanelPlateL | Dimensions | DimPnlPltLen | Panel Plate Length | double | distance | in |  |  | 1 | 0 | DimPlateLen
| IJUAEatonGenericA1 | Dimensions | DimGenA1 | A1 | double | distance | in |  |  | 1 | 0 | DimGenA1
| IJUAEatonGenericB1 | Dimensions | DimGenB1 | B1 | double | distance | in |  |  | 1 | 0 | DimGenB1
| IJUAEatonGenericC1 | Dimensions | DimGenC1 | C1 | double | distance | in |  |  | 1 | 0 | DimGenC1
| IJUAEatonGenericD1 | Dimensions | DimGenD1 | D1 | double | distance | in |  |  | 1 | 0 | DimGenD1
| IJUAEatonGenericE1 | Dimensions | DimGenE1 | E1 | double | distance | in |  |  | 1 | 0 | DimGenE1
| IJUAEatonGenericF1 | Dimensions | DimGenF1 | F1 | double | distance | in |  |  | 1 | 0 | DimGenF1
| IJUAEatonGenericG1 | Dimensions | DimGenG1 | G1 | double | distance | in |  |  | 1 | 0 | DimGenG1
| IJUAEatonEnclosures | Dimensions | DimAA | AA | Double | distance | in |  |  | 1 | 0 | DimAA
| IJUAEatonEnclosures | Dimensions | DimBB | BB | Double | distance | in |  |  | 1 | 0 | DimBB
| IJUAEatonEnclosures | Dimensions | DimWW | WW | Double | distance | in |  |  | 1 | 0 | DimWW
| IJUAEatonEnclosures | Dimensions | DimXX | XX | Double | distance | in |  |  | 1 | 0 | DimXX
| IJUAEatonEnclosures | Dimensions | DimYY | YY | Double | distance | in |  |  | 1 | 0 | DimYY
| IJUAEatonEnclosures | Dimensions | DimZZ | ZZ | Double | distance | in |  |  | 1 | 0 | DimZZ
| IJUAEatonEnclosures | Dimensions | DimBoltDia | Bolt Mtg. hole | Double | distance | in |  |  | 1 | 0 | DimBoltDia
| IJUAEatonMountingPlate | Dimensions | DimL | Mount Plate Length | Double | distance | in |  |  | 1 | 0 | DimL
| IJUAEatonMountingPlate | Dimensions | DimThk | Mount Plate Thk | Double | distance | in |  |  | 1 | 0 | DimThk
| IJUAEatonMountingPlate | Dimensions | DimW | Mount Plate Width | Double | distance | in |  |  | 1 | 0 | DimW
| IJUAEatonMountPlateCut | Dimensions | DimW1 | Cut Plate Width | Double | distance | in |  |  | 1 | 0 | DimW1
| IJUAEatonMountPlateCut | Dimensions | DimL1 | Cut Plate Length | Double | distance | in |  |  | 1 | 0 | DimL1
| IJUAEatonControlConductors | Dimensions | DimJ | J | Double | distance | in |  |  | 1 | 0 | DimJ
| IJUAEatonControlConductors | Dimensions | DimK | K | Double | distance | in |  |  | 1 | 0 | DimK
| IJUAEatonControlConductors | Dimensions | DimL | L | Double | distance | in |  |  | 1 | 0 | DimL
| IJUAEatonDisconnectSwitch | Dimensions | DimP | P | Double | distance | in |  |  | 1 | 0 | DimP
| IJUAEatonExplosionProof | Dimensions | DimA | A | Double | distance | in |  |  | 1 | 0 | DimA
| IJUAEatonExplosionProof | Dimensions | DimB | B | Double | distance | in |  |  | 1 | 0 | DimB
| IJUAEatonExplosionProof | Dimensions | DimC | C | Double | distance | in |  |  | 1 | 0 | DimC
| IJUAEatonExplosionProof | Dimensions | DimD | D | Double | distance | in |  |  | 1 | 0 | DimD
| IJUAEatonExplosionProof | Dimensions | DimE | E | Double | distance | in |  |  | 1 | 0 | DimE
| IJUAEatonExplosionProof | Dimensions | DimF | F | Double | distance | in |  |  | 1 | 0 | DimF
| IJUAEatonExplosionProof | Dimensions | DimG | G | Double | distance | in |  |  | 1 | 0 | DimG
| IJUAEatonExplosionProof | Dimensions | DimM | M | Double | distance | in |  |  | 1 | 0 | DimM
| IJUAEatonClampedEnclosures | Dimensions | DimA | A | Double | distance | in |  |  | 1 | 0 | DimA
| IJUAEatonClampedEnclosures | Dimensions | DimB | B | Double | distance | in |  |  | 1 | 0 | DimB
| IJUAEatonClampedEnclosures | Dimensions | DimC | C | Double | distance | in |  |  | 1 | 0 | DimC
| IJUAEatonClampedEnclosures | Dimensions | DimD | D | Double | distance | in |  |  | 1 | 0 | DimD
| IJUAEatonClampedEnclosures | Dimensions | DimE | E | Double | distance | in |  |  | 1 | 0 | DimE
| IJUAEatonClampedEnclosures | Dimensions | DimF | F | Double | distance | in |  |  | 1 | 0 | DimF
| IJUAEatonClampedEnclosures | Dimensions | DimG | G | Double | distance | in |  |  | 1 | 0 | DimG
| IJUAEatonClampedEnclosures | Dimensions | DimJ | J | Double | distance | in |  |  | 1 | 0 | DimJ
| IJUAEatonClampedEnclosures | Dimensions | DimK | K | Double | distance | in |  |  | 1 | 0 | DimK
| IJUAEatonClampedEnclosures | Dimensions | DimControlDia | Control Conduit Diameter | Double | distance | in |  |  | 1 | 0 | DimControlDia
| IJUAEatonClampedEnclosures | Dimensions | DimDrainDia | Breather/Drain Diameter | Double | distance | in |  |  | 1 | 0 | DimDrainDia
| IJUAEatonConduitDim | Dimensions | DimV | Conduit Entry Vertical Distance | Double | distance | in |  |  | 1 | 0 | DimV
| IJUAEatonExplosionProofSide | Dimensions | DimN | N | Double | distance | in |  |  | 1 | 0 | DimN
| IJUAEatonExplosionProofSide | Dimensions | DimO | O | Double | distance | in |  |  | 1 | 0 | DimO
| IJUAEatonVFDBltDia | Dimensions | DimDBD | Drive Bolt Diameter | Double | distance | in |  |  | 1 | 0 | DimDBD
| IJUAEatonVFDBltDia | Dimensions | DimDBD2 | Drive Bolt Diameter2 | Double | distance | in |  |  | 1 | 0 | DimDBD2
| IJUAEatonVFDBltWid | Dimensions | DimBWD | Drive Bolt Width Distance | Double | distance | in |  |  | 1 | 0 | DimBWD
| IJUAEatonVFDHgt | Dimensions | DimDH | Drive Height | Double | distance | in |  |  | 1 | 0 | DimDH
| IJUAEatonVFDHgt2 | Dimensions | DimDH2 | Drive Height2 | Double | distance | in |  |  | 1 | 0 | DimDH2
| IJUAEatonVFDHgtD | Dimensions | DimDBHD | Drive Bolt Height Distance | Double | distance | in |  |  | 1 | 0 | DimDBHD
| IJUAEatonVFDHgtD2 | Dimensions | DimDBHD2 | Drive Bolt Height Distance2 | Double | distance | in |  |  | 1 | 0 | DimDBHD2
| IJUAEatonVFDLgth | Dimensions | DimDL | Drive Length | Double | distance | in |  |  | 1 | 0 | DimDL
| IJUAEatonVFDPrtHgtD | Dimensions | DimPHD | Drive Part Height Distance | Double | distance | in |  |  | 1 | 0 | DimPHD
| IJUAEatonVFDPrtHgtD2 | Dimensions | DimPH2 | Drive Part Height Distance2 | Double | distance | in |  |  | 1 | 0 | DimPH2
| IJUAEatonVFDPrtWidD | Dimensions | DimPWD | Drive Part Width Distance | Double | distance | in |  |  | 1 | 0 | DimPWD
| IJUAEatonVFDPrtWidD2 | Dimensions | DimPWD2 | Drive Part Width Distance2 | Double | distance | in |  |  | 1 | 0 | DimPWD2
| IJUAEatonVFDWid | Dimensions | DimDW | Drive Width | Double | distance | in |  |  | 1 | 0 | DimDW
| IJUAEatonVFDFltDia | Dimensions | DimDF | Drive Filter Diameter | Double | distance | in |  |  | 1 | 0 | DimDF
| IJUAEatonVFDFltHgt | Dimensions | DimDFH | Drive Filter Height | Double | distance | in |  |  | 1 | 0 | DimDFH
| IJUAEatonEDSBody | Dimensions | DimDep | Enclosure Depth | Double | distance | in |  |  | 1 | 0 | DimDep
| IJUAEatonEDSBody | Dimensions | DimInDep | Enclosure Inside Depth | Double | distance | in |  |  | 1 | 0 | DimInDep
| IJUAEatonEDSBody | Dimensions | DimLen | Enclosure Length | Double | distance | in |  |  | 1 | 0 | DimLen
| IJUAEatonEDSBody | Dimensions | DimWid | Enclosure Width | Double | distance | in |  |  | 1 | 0 | DimWid
| IJUAEatonEDSHub | Dimensions | DimHubD | Hub Diameter | Double | distance | in |  |  | 1 | 0 | DimHubD
| IJUAEatonEDSHub | Dimensions | DimHubDist | Hub Distance | Double | distance | in |  |  | 1 | 0 | DimHubDist
| IJUAEatonEDSHub | Dimensions | DimHubH | Hub Height | Double | distance | in |  |  | 1 | 0 | DimHubH
| IJUAEatonEDSMount | Dimensions | DimBoltDia | Bolt Diameter | Double | distance | in |  |  | 1 | 0 | DimBoltDia
| IJUAEatonEDSMount | Dimensions | DimBoltH | Bolt Horizontal Distance | Double | distance | in |  |  | 1 | 0 | DimBoltH
| IJUAEatonEDSMount | Dimensions | DimBoltV | Bolt Vertical Distance | Double | distance | in |  |  | 1 | 0 | DimBoltV
| IJUAEatonEDSMount | Dimensions | DimMThk | Mount Thickness | Double | distance | in |  |  | 1 | 0 | DimMThk
| IJUAEatonEDSSurfaceCover | Dimensions | DimSThk | Surface Cover Thickness | Double | distance | in |  |  | 1 | 0 | DimSThk
| IJUAEatonEDSSurfaceCover | Dimensions | DimSW | Surface Cover Width | Double | distance | in |  |  | 1 | 0 | DimSW
| IJUAEatonEBBRBoltDia | Dimensions | DimEBBR_BDIA | Bolt Diameter | Double | distance | in |  |  | 1 | 0 | DimEBBR_BDIA
| IJUAEatonEBBRBoltDia | Dimensions | DimEBBR_BDIA2 | Bolt Diameter2 | Double | distance | in |  |  | 1 | 0 | DimEBBR_BDIA2
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_A | A | Double | distance | in |  |  | 1 | 0 | DimEBBR_A
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_B | B | Double | distance | in |  |  | 1 | 0 | DimEBBR_B
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_C | C | Double | distance | in |  |  | 1 | 0 | DimEBBR_C
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_D | D | Double | distance | in |  |  | 1 | 0 | DimEBBR_D
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_BD | Bolt Distance | Double | distance | in |  |  | 1 | 0 | DimEBBR_BD
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_L | Length | Double | distance | in |  |  | 1 | 0 | DimEBBR_L
| IJUAEatonEBBRReceptacle | Dimensions | DimEBBR_W | Width | Double | distance | in |  |  | 1 | 0 | DimEBBR_W
| IJUAEatonENRBolt | Dimensions | DimENR_BD | Bolt Diameter | Double | distance | in |  |  | 1 | 0 | DimENR_BD
| IJUAEatonENRBolt | Dimensions | DimENR_HB | Bolt Vertical Distance | Double | distance | in |  |  | 1 | 0 | DimENR_HB
| IJUAEatonENRBoltH | Dimensions | DimENR_BW | Bolt Horizontal Distance | Double | distance | in |  |  | 1 | 0 | DimENR_BW
| IJUAEatonENRHub | Dimensions | DimENR_HU | Hub Size | Double | distance | in |  |  | 1 | 0 | DimENR_HU
| IJUAEatonENRBody | Dimensions | DimENR_H | Enclosure Height | Double | distance | in |  |  | 1 | 0 | DimENR_H
| IJUAEatonENRBody | Dimensions | DimENR_L | Enclosure Length | Double | distance | in |  |  | 1 | 0 | DimENR_L
| IJUAEatonENRBody | Dimensions | DimENR_TH | Total Height | Double | distance | in |  |  | 1 | 0 | DimENR_TH
| IJUAEatonENRBody | Dimensions | DimENR_A | A | Double | distance | in |  |  | 1 | 0 | DimENR_A
| IJUAEatonENRBToC | Dimensions | DimENR_CBW | Bolt to Center Horizontal Distance | Double | distance | in |  |  | 1 | 0 | DimENR_CBW
| IJUAEatonENRBToC | Dimensions | DimENR_CBV | Bolt to Center Vertical Distance | Double | distance | in |  |  | 1 | 0 | DimENR_CBV
| IJUAEatonFSQCReceptacle | Dimensions | DimFSQC_A | A | Double | distance | in |  |  | 1 | 0 | DimFSQC_A
| IJUAEatonFSQCReceptacle | Dimensions | DimFSQC_B | B | Double | distance | in |  |  | 1 | 0 | DimFSQC_B
| IJUAEatonFSQCReceptacle | Dimensions | DimFSQC_C | C | Double | distance | in |  |  | 1 | 0 | DimFSQC_C
| IJUAEatonFSQCReceptacle | Dimensions | DimFSQC_D | D | Double | distance | in |  |  | 1 | 0 | DimFSQC_D
| IJUAEatonFSQCReceptacle | Dimensions | DimFSQC_F | F | Double | distance | in |  |  | 1 | 0 | DimFSQC_F
| IJUAEatonFSQCBoltDis | Dimensions | DimFSQC_E | E | Double | distance | in |  |  | 1 | 0 | DimFSQC_E
| IJUAEatonFSQCHgt | Dimensions | DimFSQC_G | G | Double | distance | in |  |  | 1 | 0 | DimFSQC_G
| IJUAEatonFSQCHub | Dimensions | DimFSQC_H | H | Double | distance | in |  |  | 1 | 0 | DimFSQC_H
| IJUAEatonCompDisconnSwitch | Dimensions | DimA | A | Double | distance | in |  |  | 1 | 0 | DimA
| IJUAEatonCompDisconnSwitch | Dimensions | DimB | B | Double | distance | in |  |  | 1 | 0 | DimB
| IJUAEatonCompDisconnSwitch | Dimensions | DimC | C | Double | distance | in |  |  | 1 | 0 | DimC
| IJUAEatonCompDisconnSwitch | Dimensions | DimD | D | Double | distance | in |  |  | 1 | 0 | DimD
| IJUAEatonCompDisconnSwitch | Dimensions | DimE | E | Double | distance | in |  |  | 1 | 0 | DimE
| IJUAEatonCompDisconnSwitch | Dimensions | DimF | F | Double | distance | in |  |  | 1 | 0 | DimF
| IJUAEatonCompactPort | Dimensions | DimBoltDia | Mounting holes | Double | distance | in |  |  | 1 | 0 | DimBoltDia
| IJUAEatonCompactPort | Dimensions | DimConDia | Control Conduit Diameter | Double | distance | in |  |  | 1 | 0 | DimConDia
| IJUAEatonCompCircuitBreaker | Dimensions | DimAA | aa | Double | distance | in |  |  | 1 | 0 | DimAA
| IJUAEatonCompCircuitBreaker | Dimensions | DimBB | bb | Double | distance | in |  |  | 1 | 0 | DimBB
| IJUAEatonCompCircuitBreaker | Dimensions | DimFF | ff | Double | distance | in |  |  | 1 | 0 | DimFF
| IJUAEatonCompCircuitBreaker | Dimensions | DimXX | xx | Double | distance | in |  |  | 1 | 0 | DimXX
| IJUAEatonCompCircuitBreaker | Dimensions | DimYY | yy | Double | distance | in |  |  | 1 | 0 | DimYY
| IJUAEatonCompCircuitBreaker | Dimensions | DimZZ | zz | Double | distance | in |  |  | 1 | 0 | DimZZ
| IJUAEatonLinearLED | Dimensions | DimMLLA_A | Length | Double | distance | in |  |  | 1 | 0 | DimMLLA_A
| IJUAEatonLinearLED | Dimensions | DimMLLA_H | Height | Double | distance | in |  |  | 1 | 0 | DimMLLA_H
| IJUAEatonLinearLED | Dimensions | DimMLLA_W | Width | Double | distance | in |  |  | 1 | 0 | DimMLLA_W
| IJUAEatonLinearLEDFC | Dimensions | DimMLLA_FC_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_FC_B
| IJUAEatonLinearLEDFC | Dimensions | DimMLLA_FC_H | H | Double | distance | in |  |  | 1 | 0 | DimMLLA_FC_H
| IJUAEatonLinearLEDOW | Dimensions | DimMLLA_OW_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_OW_B
| IJUAEatonLinearLEDOW | Dimensions | DimMLLA_OW_H | H | Double | distance | in |  |  | 1 | 0 | DimMLLA_OW_H
| IJUAEatonLinearLEDCSM | Dimensions | DimMLLA_S_H | H | Double | distance | in |  |  | 1 | 0 | DimMLLA_S_H
| IJUAEatonLinearLEDCSMB | Dimensions | DimMLLA_S_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_S_B
| IJUAEatonMountGap | Dimensions | DimGapMin | Mount Minimum Gap | Double | distance | in |  |  | 1 | 0 | DimGapMin
| IJUAEatonMountGap | Dimensions | DimGapMax | Mount Maximum Gap | Double | distance | in |  |  | 1 | 0 | DimGapMax
| IJUAEatonLinearLEDOC | Dimensions | DimMLLA_OC_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_OC_B
| IJUAEatonLinearLEDOC | Dimensions | DimMLLA_OC_H | H | Double | distance | in |  |  | 1 | 0 | DimMLLA_OC_H
| IJUAEatonLinearLEDPM | Dimensions | DimMLLA_PM_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_PM_B
| IJUAEatonLinearLEDPM | Dimensions | DimMLLA_PM_C | C | Double | distance | in |  |  | 1 | 0 | DimMLLA_PM_C
| IJUAEatonLinearLEDPM | Dimensions | DimMLLA_PM_D | D | Double | distance | in |  |  | 1 | 0 | DimMLLA_PM_D
| IJUAEatonLinearLEDPM | Dimensions | DimMLLA_PM_E | E | Double | distance | in |  |  | 1 | 0 | DimMLLA_PM_E
| IJUAEatonLinearLEDPM | Dimensions | DimMLLA_PM_H | H | Double | distance | in |  |  | 1 | 0 | DimMLLA_PM_H
| IJUAEatonLinearLEDPM | Dimensions | DimMLLA_PM_Ang | Cable Angle | Double | Angle | deg |  |  | 1 | 0 | DimMLLA_PM_Ang
| IJUAEatonLinearLEDPF | Dimensions | DimMLLA_P_F | F | Double | distance | in |  |  | 1 | 0 | DimMLLA_P_F
| IJUAEatonLinearLEDP | Dimensions | DimMLLA_P_A | A | Double | distance | in |  |  | 1 | 0 | DimMLLA_P_A
| IJUAEatonLinearLEDP | Dimensions | DimMLLA_P_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_P_B
| IJUAEatonLinearLEDP | Dimensions | DimMLLA_P_C | C | Double | distance | in |  |  | 1 | 0 | DimMLLA_P_C
| IJUAEatonLinearLEDP | Dimensions | DimMLLA_P_D | D | Double | distance | in |  |  | 1 | 0 | DimMLLA_P_D
| IJUAEatonLinearLEDP | Dimensions | DimMLLA_P_H | Pole Mount Height | Double | distance | in |  |  | 1 | 0 | DimMLLA_P_H
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_A2 | A2 | Double | distance | in |  |  | 1 | 0 | DimMLLA_A2
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_A3 | A3 | Double | distance | in |  |  | 1 | 0 | DimMLLA_A3
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_A4 | A4 | Double | distance | in |  |  | 1 | 0 | DimMLLA_A4
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_A5 | A5 | Double | distance | in |  |  | 1 | 0 | DimMLLA_A5
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_Dia | Port Diameter | Double | distance | in |  |  | 1 | 0 | DimMLLA_Dia
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_H2 | H2 | Double | distance | in |  |  | 1 | 0 | DimMLLA_H2
| IJUAEatonLinearLEDBatt | Dimensions | DimMLLA_W2 | W2 | Double | distance | in |  |  | 1 | 0 | DimMLLA_W2
| IJUAEatonLinearLEDMPB | Dimensions | DimMLLA_MP_B | B | Double | distance | in |  |  | 1 | 0 | DimMLLA_MP_B
| IJUAEatonLinearLEDMP | Dimensions | DimMLLA_MP_W | MagnaPro Width | Double | distance | in |  |  | 1 | 0 | DimMLLA_MP_W
| IJUAEatonLinearLEDMP | Dimensions | DimMLLA_MP_W2 | MagnaPro Width2 | Double | distance | in |  |  | 1 | 0 | DimMLLA_MP_W2
| IJUAEatonLinearLEDMP | Dimensions | DimMLLA_MP_H | H | Double | distance | in |  |  | 1 | 0 | DimMLLA_MP_H
| IJUAEatonLinearLEDMP | Dimensions | DimMLLA_MP_H2 | MagnaPro Height2 | Double | distance | in |  |  | 1 | 0 | DimMLLA_MP_H2
End

## GUIDs
! Back to Index
Head | Class/InterfaceName | PackageName | GUID | AttributeName | DispID
Start
End